## README
Sheet | Content
row_counts | Rows per asset, split, and horizon
asset_inventory_43 | All 43 assets of the dataset with the reason for inclusion or exclusion
baseline_selection_val | Validation RMSE of the Baseline-2 algorithms used to select the strongest baseline
dm_hourly | Diebold-Mariano tests on the hourly cross-asset loss differential (largest p-value over five seeds, Holm-adjusted)
rolling_split_scaled | Rolling-origin evaluation with period-specific scaling (Table 8)
anomaly_chrono_summary | Chronological anomaly-detection results, mean over five seeds and 13 assets (Tables 10 and 11)
anomaly_chrono_alerts | Daily deviation scores and alerts in the test period (seed 42)
equal_information | Equal-information comparisons (RMSE in kW, five seeds; DM tests against the mixture)
classifier_diag | ON/OFF classifier diagnostics: Brier score, log loss, expected calibration error, negative outputs
classifier_reliability | Reliability of the ON probability (mean of five seeds per bin)
asset_averaged_errors | Mean per-asset RMSE in kW and on the scaled target
robust_25_assets | XGBoost and the mixture on all 25 eligible assets
robust_25_per_asset | Per-asset RMSE change (%) on the 25 eligible assets
per_asset_change_5seed | Per-asset RMSE change (%), five-seed mean (Fig. 7)

## row_counts
AssetId | train | val | test | H
ahu_a | 5207 | 669 | 1415 | 1
ahu_b | 5913 | 864 | 1713 | 1
comp_a | 2596 | 864 | 1706 | 1
comp_b | 2596 | 864 | 1713 | 1
ex_b | 5577 | 864 | 1713 | 1
mh_a | 5912 | 864 | 1713 | 1
mix_a | 5911 | 864 | 1713 | 1
p_b | 5533 | 864 | 1746 | 1
p_c | 2621 | 864 | 1746 | 1
p_e | 4212 | 864 | 1746 | 1
p_g | 4005 | 864 | 1746 | 1
p_k | 5747 | 864 | 1746 | 1
u_e | 5888 | 864 | 1713 | 1
ahu_a | 5134 | 653 | 1405 | 6
ahu_b | 5893 | 864 | 1703 | 6
comp_a | 2581 | 864 | 1696 | 6
comp_b | 2581 | 864 | 1703 | 6
ex_b | 5557 | 864 | 1703 | 6
mh_a | 5892 | 864 | 1703 | 6
mix_a | 5891 | 864 | 1703 | 6
p_b | 5503 | 864 | 1741 | 6
p_c | 2606 | 864 | 1741 | 6
p_e | 4164 | 864 | 1741 | 6
p_g | 3985 | 864 | 1741 | 6
p_k | 5722 | 864 | 1741 | 6
u_e | 5868 | 864 | 1703 | 6
ahu_a | 4977 | 608 | 1402 | 24
ahu_b | 5837 | 864 | 1700 | 24
comp_a | 2543 | 864 | 1693 | 24
comp_b | 2543 | 864 | 1700 | 24
ex_b | 5501 | 864 | 1700 | 24
mh_a | 5836 | 864 | 1700 | 24
mix_a | 5835 | 864 | 1700 | 24
p_b | 5411 | 864 | 1741 | 24
p_c | 2568 | 864 | 1741 | 24
p_e | 4089 | 864 | 1741 | 24
p_g | 3929 | 864 | 1741 | 24
p_k | 5648 | 864 | 1741 | 24
u_e | 5812 | 864 | 1700 | 24

## asset_inventory_43
AssetId | asset_type | is_submeter | first | last | days_with_reliable_data | mean_demand_kw | max_15min_kw | test_period_coverage_pct | status
ex_a | HVAC_AirExtraction | TRUE | 2025-05-22 | 2025-12-31 | 223 | 2.75 | 14.18 | 99.1 | eligible, not selected (included in the 25-asset check)
mix_b | ProcessMixing | TRUE | 2024-12-31 | 2025-12-31 | 362 | 0.91 | 49.26 | 99.1 | eligible, not selected (included in the 25-asset check)
mix_c | ProcessMixing | TRUE | 2024-12-31 | 2025-12-31 | 363 | 1.52 | 65.71 | 99.1 | eligible, not selected (included in the 25-asset check)
p_a | Press_Main | TRUE | 2025-02-21 | 2025-12-31 | 308 | 3.58 | 27.25 | 99.6 | eligible, not selected (included in the 25-asset check)
p_d | Press_Drive | TRUE | 2025-02-20 | 2025-12-31 | 302 | 6.9 | 49.06 | 99.6 | eligible, not selected (included in the 25-asset check)
p_f | Press_IntegratedAutomationCell | TRUE | 2024-12-31 | 2025-12-31 | 305 | 18.83 | 79.09 | 72.3 | eligible, not selected (included in the 25-asset check)
p_h | Press_Main | TRUE | 2025-02-20 | 2025-12-31 | 309 | 2.73 | 12.86 | 99.6 | eligible, not selected (included in the 25-asset check)
p_i | Press_Main | TRUE | 2025-03-21 | 2025-12-31 | 283 | 7.76 | 35.67 | 99.6 | eligible, not selected (included in the 25-asset check)
p_l | Press_Main | TRUE | 2025-03-21 | 2025-12-31 | 283 | 7.33 | 38.34 | 99.6 | eligible, not selected (included in the 25-asset check)
p_m | Press_Main | TRUE | 2025-03-21 | 2025-12-31 | 283 | 5.67 | 36.27 | 99.6 | eligible, not selected (included in the 25-asset check)
u_b | Utilities | TRUE | 2025-05-22 | 2025-12-31 | 223 | 3.67 | 6.03 | 99.1 | eligible, not selected (included in the 25-asset check)
u_c | Utilities | TRUE | 2025-05-22 | 2025-12-31 | 223 | 3.37 | 10.91 | 99.1 | eligible, not selected (included in the 25-asset check)
p_j | Press_Drive | TRUE | 2025-12-18 | 2025-12-31 | 14 | 0.63 | 3.24 | 18.5 | excluded: fewer than 220 days of reliable data
p_n | Press_Main | TRUE | 2025-12-19 | 2025-12-31 | 13 | 0.07 | 21.37 | 16.9 | excluded: fewer than 220 days of reliable data
php_c | Press_Heating | TRUE | 2025-08-17 | 2025-12-31 | 137 | 2.86 | 18.51 | 99.6 | excluded: fewer than 220 days of reliable data
php_j | Press_Heating | TRUE | 2025-12-18 | 2025-12-31 | 14 | 0 | 3.95 | 18.5 | excluded: fewer than 220 days of reliable data
pr_e | Automation_Robot | TRUE | 2025-11-19 | 2025-12-31 | 43 | 0.78 | 4.27 | 57.2 | excluded: fewer than 220 days of reliable data
pr_f | Automation_Robot | TRUE | 2025-11-20 | 2025-12-31 | 42 | 2.1 | 7.67 | 55.9 | excluded: fewer than 220 days of reliable data
pr_k | Automation_Robot | TRUE | 2025-11-18 | 2025-12-31 | 44 | 2.27 | 6.4 | 58.6 | excluded: fewer than 220 days of reliable data
ahu_c | HVAC_AHU | TRUE | 2024-12-31 | 2025-12-31 | 362 | 0.27 | 1.26 | 99.1 | excluded: mean demand below 0.5 kW
hp_a | HVAC_HeatPump | TRUE | 2025-04-30 | 2025-12-31 | 245 | 0.01 | 0.09 | 99.6 | excluded: mean demand below 0.5 kW
hp_b | HVAC_HeatPump | TRUE | 2025-04-30 | 2025-12-31 | 245 | 0 | 0.09 | 99.6 | excluded: mean demand below 0.5 kW
mix_d | ProcessMixing | TRUE | 2024-12-31 | 2025-12-31 | 363 | 0.35 | 17.08 | 99.1 | excluded: mean demand below 0.5 kW
u_a | Utilities | TRUE | 2025-05-22 | 2025-12-31 | 222 | 0.34 | 14.18 | 89.6 | excluded: mean demand below 0.5 kW
u_d | Utilities | TRUE | 2024-12-31 | 2025-12-31 | 362 | 0.02 | 0.68 | 99.1 | excluded: mean demand below 0.5 kW
mi_a | Electrical_GridImport | FALSE | 2025-05-22 | 2025-12-31 | 223 | 232.24 | 591.31 | 99.1 | excluded: not a single machine (distribution board, grid import, or PV meter)
mi_b | Electrical_PVGeneration | FALSE | 2025-04-30 | 2025-12-31 | 244 | 0.05 | 0.42 | 99.5 | excluded: not a single machine (distribution board, grid import, or PV meter)
sb_a | Electrical_Distribution | TRUE | 2025-05-22 | 2025-12-31 | 223 | 52.06 | 144.13 | 99.1 | excluded: not a single machine (distribution board, grid import, or PV meter)
sb_b | Electrical_Distribution | TRUE | 2025-05-23 | 2025-12-31 | 222 | 23.26 | 118.36 | 99.1 | excluded: not a single machine (distribution board, grid import, or PV meter)
sb_c | Electrical_Distribution | TRUE | 2025-04-30 | 2025-12-31 | 242 | 0.02 | 0.17 | 98.9 | excluded: not a single machine (distribution board, grid import, or PV meter)
ahu_a | HVAC_AHU | TRUE | 2024-12-31 | 2025-12-23 | 345 | 6.94 | 30.83 | 83.5 | selected
ahu_b | HVAC_AHU | TRUE | 2024-12-31 | 2025-12-31 | 362 | 1 | 2.92 | 99.1 | selected
comp_a | CompressedAir | TRUE | 2025-05-22 | 2025-12-31 | 223 | 12.93 | 76.32 | 99.1 | selected
comp_b | CompressedAir | TRUE | 2025-05-22 | 2025-12-31 | 223 | 14.44 | 76.24 | 99.1 | selected
ex_b | HVAC_AirExtraction | TRUE | 2024-12-31 | 2025-12-31 | 348 | 23.12 | 34.63 | 99.1 | selected
mh_a | Automation_Handling | TRUE | 2024-12-31 | 2025-12-31 | 363 | 1.6 | 10.73 | 99.1 | selected
mix_a | ProcessMixing | TRUE | 2024-12-31 | 2025-12-31 | 362 | 1.39 | 59.82 | 99.1 | selected
p_b | Press_Main | TRUE | 2024-12-31 | 2025-12-31 | 350 | 10.6 | 68.21 | 99.6 | selected
p_c | Press_Drive | TRUE | 2025-05-21 | 2025-12-31 | 223 | 4.32 | 30.36 | 99.6 | selected
p_e | Press_Drive | TRUE | 2025-02-05 | 2025-12-31 | 328 | 7.25 | 39.11 | 99.6 | selected
p_g | Press_Main | TRUE | 2025-03-21 | 2025-12-31 | 282 | 6.46 | 32.43 | 99.6 | selected
p_k | Press_Main | TRUE | 2024-12-31 | 2025-12-31 | 357 | 24.41 | 72.25 | 99.6 | selected
u_e | Utilities | TRUE | 2024-12-31 | 2025-12-31 | 362 | 5.38 | 22.68 | 99.1 | selected

## baseline_selection_val
ARIMA | VAR | Random Forest | XGBoost | LSTM | TCN | selected
3.819 | 3.825 | 3.142 | 2.978 | 3.566 | 3.317 | XGBoost
7.69 | 7.796 | 5.906 | 5.807 | 6.361 | 6.21 | XGBoost
9.037 | 9.047 | 7.745 | 7.173 | 7.68 | 7.633 | XGBoost

## dm_hourly
H | vs | T_hours | DM_min | DM_max | p_max | p_min | p_NW24_max | p_NW168_max | p_block_week_max | n_seeds_p05 | rmse_vs | rmse_mix | p_holm | p_holm_conservative
1 | XGBoost | 1746 | 9.3737 | 10.1051 | 0 | 0 | 0 | 0 | 0 | 5 | 3.1035 | 2.6692 | 0 | 0
1 | Single-stage | 1746 | 1.8359 | 2.6962 | 0.0665 | 0.0071 | 0.0689 | 0.1669 | 0.1805 | 4 | 2.7085 | 2.6692 | 0.2662 | 0.722
1 | Conference | 1746 | 2.6078 | 4.051 | 0.0092 | 0.0001 | 0.0203 | 0.0701 | 0.083 | 5 | 2.7428 | 2.6692 | 0.0551 | 0.498
6 | XGBoost | 1741 | 3.0355 | 4.0769 | 0.0024 | 0 | 0.0064 | 0.011 | 0.0165 | 5 | 6.3655 | 6.0836 | 0.0172 | 0.132
6 | TCN | 1741 | 1.9926 | 4.5446 | 0.0465 | 0 | 0.0529 | 0.0847 | 0.123 | 5 | 6.3376 | 6.0836 | 0.2323 | 0.615
6 | Single-stage | 1741 | 3.0735 | 5.2225 | 0.0021 | 0 | 0.0053 | 0.0539 | 0.027 | 5 | 6.3042 | 6.0836 | 0.0172 | 0.3775
6 | Conference | 1741 | 4.2987 | 5.2387 | 0 | 0 | 0.0004 | 0.0101 | 0.012 | 5 | 6.5892 | 6.0836 | 0.0002 | 0.108
24 | XGBoost | 1741 | 0.4423 | 1.1319 | 0.6584 | 0.2578 | 0.5833 | 0.6297 | 0.6585 | 0 | 8.6815 | 8.5566 | 1 | 1
24 | Single-stage | 1741 | -0.2417 | 0.2857 | 0.9704 | 0.7751 | 0.964 | 0.974 | 0.9735 | 0 | 8.561 | 8.5566 | 1 | 1
24 | Conference | 1741 | -0.1815 | 0.5275 | 0.9558 | 0.5979 | 0.9464 | 0.9569 | 0.9655 | 0 | 8.6101 | 8.5566 | 1 | 1

## rolling_split_scaled
H | period | n_rows | xgb | mix | gain | p_max | p_min | p_block_max | T_hours | p_holm | p_holm_block
1 | Jul | 9532 | 3.3122 | 2.953 | 10.8472 | 0 | 0 | 0 | 744 | 0 | 0
1 | Aug | 8341 | 3.4477 | 3.0629 | 11.16 | 0 | 0 | 0 | 712 | 0 | 0
1 | Sep | 14705 | 3.0894 | 2.7635 | 10.5497 | 0 | 0 | 0 | 1152 | 0 | 0
1 | Main | 22129 | 3.1074 | 2.6669 | 14.1753 | 0 | 0 | 0 | 1746 | 0 | 0
1 | All four (pooled) | 54707 | 3.193 | 2.807 | 12.0876 | 0 | 0 | 0 | 4354 | 0 | 0
6 | Jul | 9518 | 6.2323 | 6.1204 | 1.7956 | 0.191 | 0.0594 | 0.195 | 744 | 0.9548 | 1
6 | Aug | 8212 | 6.46 | 6.3371 | 1.9029 | 0.3006 | 0.1117 | 0.4745 | 707 | 1 | 1
6 | Sep | 14684 | 6.0372 | 5.8985 | 2.2987 | 0.1171 | 0.0543 | 0.182 | 1152 | 0.831 | 1
6 | Main | 22024 | 6.3444 | 6.0978 | 3.8861 | 0.0024 | 0.0007 | 0.0165 | 1741 | 0.0219 | 0.1485
6 | All four (pooled) | 54438 | 6.2612 | 6.0857 | 2.8029 | 0.0001 | 0 | 0.0005 | 4344 | 0.0008 | 0.005
24 | Jul | 9501 | 7.9372 | 7.6721 | 3.3395 | 0.1041 | 0.0807 | 0.28 | 744 | 0.831 | 1
24 | Aug | 7970 | 8.0485 | 7.777 | 3.3736 | 0.1039 | 0.0408 | 0.0995 | 705 | 0.831 | 0.831
24 | Sep | 14621 | 7.5302 | 7.6169 | -1.1508 | 0.6297 | 0.4807 | 0.415 | 1152 | 1 | 1
24 | Main | 22000 | 8.6697 | 8.5639 | 1.22 | 0.6584 | 0.4679 | 0.6585 | 1741 | 1 | 1
24 | All four (pooled) | 54092 | 8.1552 | 8.0474 | 1.3218 | 0.269 | 0.1236 | 0.2825 | 4342 | 1 | 1

## anomaly_chrono_summary
Method | AUC | FA | All | Left ON overnight | Missed shift | Load spike | Schedule shift | Base-load increase | FA_matched | All_matched | Left ON overnight (matched) | Missed shift (matched) | Load spike (matched) | Schedule shift (matched) | Base-load increase (matched)
DBSCAN (fixed eps) |  | 92.1112 | 95.9231 | 100 | 95.4615 | 100 | 100 | 86.8077
DBSCAN density | 0.5944 | 23.6456 | 38.9154 | 24.6538 | 42.9231 | 51.7917 | 63.6923 | 10.7308 | 5.4961 | 14.9269 | 8.3462 | 17.3077 | 9.3333 | 34.4231 | 1.1923
Isolation Forest | 0.7084 | 19.5727 | 48.7808 | 45.2692 | 45.1923 | 66.4167 | 52.3077 | 35.0385 | 5.475 | 21.3981 | 18.4615 | 15.8462 | 35.5417 | 22.7308 | 13
K-means distance | 0.5755 | 20.9658 | 32.9423 | 11.1538 | 32.6538 | 47.75 | 51.5769 | 18.3462 | 5.2853 | 9.3904 | 0 | 15.1538 | 7.7917 | 20.4615 | 0.9231
LOF | 0.7223 | 13.7695 | 44.375 | 65.2308 | 23.6538 | 45.2083 | 37.0385 | 50 | 5.4961 | 25.6019 | 53.0769 | 11.8077 | 9.6667 | 19.6538 | 29.5385
Proposed K=10 | 0.8003 | 17.4524 | 59.4058 | 49.1923 | 15.5385 | 98.8333 | 65.1923 | 72.0769 | 5.4961 | 44.8538 | 31.6538 | 5.0769 | 80.875 | 48.3077 | 58.6154
Proposed K=3 | 0.8017 | 15.308 | 59.0827 | 45.3462 | 12.1538 | 99.5 | 66.1154 | 76.1538 | 5.4961 | 46.7115 | 32.3846 | 2.5385 | 88.5417 | 50.1154 | 61.6154
Proposed K=5 | 0.7984 | 15.7384 | 59.3058 | 46.0769 | 13.3462 | 99.25 | 65.3846 | 76.3077 | 5.4961 | 46.7538 | 32.1923 | 5.5 | 85.9167 | 49.1154 | 61.6923
Proposed K=7 | 0.7991 | 17.2328 | 59.5981 | 47.5 | 14.7692 | 99.0417 | 64.9615 | 75.5385 | 5.4961 | 46.1 | 31.8077 | 5.5 | 84 | 47.8846 | 61.8077
kNN level, no context | 0.7876 | 17.1449 | 58.7827 | 44.2692 | 14.8846 | 99.4167 | 65.2692 | 73.5 | 5.4961 | 45.4577 | 29 | 2.5385 | 88.2917 | 49.6923 | 59.3846
kNN shape, with context | 0.6113 | 24.2924 | 39.625 | 25.3846 | 45.9231 | 51 | 63.2692 | 11.3077 | 5.4961 | 10.7192 | 0.0385 | 14.6154 | 4.8333 | 30.4231 | 1.2308

## anomaly_chrono_alerts
Asset | date | score | thr | alert
p_b | 2025-10-19 | 1.161 | 1.0336 | TRUE
p_b | 2025-10-20 | 1.0104 | 1.0336 | FALSE
p_b | 2025-10-21 | 1.2232 | 1.0336 | TRUE
p_b | 2025-10-22 | 1.0059 | 1.0336 | FALSE
p_b | 2025-10-24 | 0.5842 | 1.0336 | FALSE
p_b | 2025-10-25 | 1.2646 | 1.0336 | TRUE
p_b | 2025-10-26 | 1.1492 | 1.0336 | TRUE
p_b | 2025-10-27 | 0.8427 | 1.0336 | FALSE
p_b | 2025-10-28 | 0.578 | 1.0336 | FALSE
p_b | 2025-10-29 | 0.827 | 1.0336 | FALSE
p_b | 2025-10-30 | 0.6823 | 1.0336 | FALSE
p_b | 2025-10-31 | 1.5427 | 1.0336 | TRUE
p_b | 2025-11-01 | 0.3992 | 1.0336 | FALSE
p_b | 2025-11-02 | 0.0008 | 1.0336 | FALSE
p_b | 2025-11-03 | 1.1428 | 1.0336 | TRUE
p_b | 2025-11-04 | 1.0689 | 1.0336 | TRUE
p_b | 2025-11-05 | 0.8977 | 1.0336 | FALSE
p_b | 2025-11-06 | 0.0653 | 1.0336 | FALSE
p_b | 2025-11-07 | 0.0643 | 1.0336 | FALSE
p_b | 2025-11-08 | 0.0521 | 1.0336 | FALSE
p_b | 2025-11-09 | 0.0007 | 1.0336 | FALSE
p_b | 2025-11-10 | 0.0008 | 1.0336 | FALSE
p_b | 2025-11-11 | 0.0006 | 1.0336 | FALSE
p_b | 2025-11-12 | 0.0008 | 1.0336 | FALSE
p_b | 2025-11-13 | 0.0006 | 1.0336 | FALSE
p_b | 2025-11-14 | 0.0007 | 1.0336 | FALSE
p_b | 2025-11-15 | 0.0006 | 1.0336 | FALSE
p_b | 2025-11-16 | 0.0007 | 1.0336 | FALSE
p_b | 2025-11-17 | 0.6315 | 1.0336 | FALSE
p_b | 2025-11-18 | 1.0044 | 1.0336 | FALSE
p_b | 2025-11-19 | 0.9194 | 1.0336 | FALSE
p_b | 2025-11-20 | 0.9781 | 1.0336 | FALSE
p_b | 2025-11-21 | 1.0051 | 1.0336 | FALSE
p_b | 2025-11-22 | 0.0609 | 1.0336 | FALSE
p_b | 2025-11-23 | 0.232 | 1.0336 | FALSE
p_b | 2025-11-24 | 1.0044 | 1.0336 | FALSE
p_b | 2025-11-25 | 0.9865 | 1.0336 | FALSE
p_b | 2025-11-26 | 1.3812 | 1.0336 | TRUE
p_b | 2025-11-27 | 0.9772 | 1.0336 | FALSE
p_b | 2025-11-28 | 1.075 | 1.0336 | TRUE
p_b | 2025-11-29 | 1.9465 | 1.0336 | TRUE
p_b | 2025-11-30 | 1.6534 | 1.0336 | TRUE
p_b | 2025-12-01 | 1.3207 | 1.0336 | TRUE
p_b | 2025-12-02 | 1.3398 | 1.0336 | TRUE
p_b | 2025-12-03 | 1.2105 | 1.0336 | TRUE
p_b | 2025-12-04 | 1.61 | 1.0336 | TRUE
p_b | 2025-12-05 | 0.9878 | 1.0336 | FALSE
p_b | 2025-12-06 | 1.7634 | 1.0336 | TRUE
p_b | 2025-12-07 | 0.2631 | 1.0336 | FALSE
p_b | 2025-12-08 | 1.0588 | 1.0336 | TRUE
p_b | 2025-12-09 | 1.8217 | 1.0336 | TRUE
p_b | 2025-12-10 | 0.4333 | 1.0336 | FALSE
p_b | 2025-12-11 | 0.0982 | 1.0336 | FALSE
p_b | 2025-12-12 | 0.263 | 1.0336 | FALSE
p_b | 2025-12-13 | 1.7199 | 1.0336 | TRUE
p_b | 2025-12-14 | 1.1073 | 1.0336 | TRUE
p_b | 2025-12-15 | 0.1722 | 1.0336 | FALSE
p_b | 2025-12-16 | 0.8372 | 1.0336 | FALSE
p_b | 2025-12-17 | 1.5383 | 1.0336 | TRUE
p_b | 2025-12-18 | 1.2708 | 1.0336 | TRUE
p_b | 2025-12-19 | 1.5675 | 1.0336 | TRUE
p_b | 2025-12-20 | 0.9436 | 1.0336 | FALSE
p_b | 2025-12-21 | 0.0016 | 1.0336 | FALSE
p_b | 2025-12-22 | 0.3171 | 1.0336 | FALSE
p_b | 2025-12-23 | 0.3399 | 1.0336 | FALSE
p_b | 2025-12-24 | 0.0064 | 1.0336 | FALSE
p_b | 2025-12-25 | 0.0064 | 1.0336 | FALSE
p_b | 2025-12-26 | 0.0064 | 1.0336 | FALSE
p_b | 2025-12-27 | 0.0106 | 1.0336 | FALSE
p_b | 2025-12-28 | 0.0106 | 1.0336 | FALSE
p_b | 2025-12-29 | 0.0064 | 1.0336 | FALSE
p_b | 2025-12-30 | 0.0064 | 1.0336 | FALSE
p_b | 2025-12-31 | 0.0064 | 1.0336 | FALSE
p_c | 2025-10-19 | 0.003 | 1.2622 | FALSE
p_c | 2025-10-20 | 0.2366 | 1.2622 | FALSE
p_c | 2025-10-21 | 0.3505 | 1.2622 | FALSE
p_c | 2025-10-22 | 0.0021 | 1.2622 | FALSE
p_c | 2025-10-24 | 0.2787 | 1.2622 | FALSE
p_c | 2025-10-25 | 0.0084 | 1.2622 | FALSE
p_c | 2025-10-26 | 0.0082 | 1.2622 | FALSE
p_c | 2025-10-27 | 0.005 | 1.2622 | FALSE
p_c | 2025-10-28 | 0.0057 | 1.2622 | FALSE
p_c | 2025-10-29 | 0.5752 | 1.2622 | FALSE
p_c | 2025-10-30 | 0.8479 | 1.2622 | FALSE
p_c | 2025-10-31 | 0.5034 | 1.2622 | FALSE
p_c | 2025-11-01 | 0.0026 | 1.2622 | FALSE
p_c | 2025-11-02 | 0.0014 | 1.2622 | FALSE
p_c | 2025-11-03 | 0.0018 | 1.2622 | FALSE
p_c | 2025-11-04 | 0.6355 | 1.2622 | FALSE
p_c | 2025-11-05 | 0.3088 | 1.2622 | FALSE
p_c | 2025-11-06 | 0.0044 | 1.2622 | FALSE
p_c | 2025-11-07 | 1.0683 | 1.2622 | FALSE
p_c | 2025-11-08 | 0.5827 | 1.2622 | FALSE
p_c | 2025-11-09 | 0.0012 | 1.2622 | FALSE
p_c | 2025-11-10 | 0.0273 | 1.2622 | FALSE
p_c | 2025-11-11 | 0.6422 | 1.2622 | FALSE
p_c | 2025-11-12 | 0.8251 | 1.2622 | FALSE
p_c | 2025-11-13 | 0.0013 | 1.2622 | FALSE
p_c | 2025-11-14 | 0.7088 | 1.2622 | FALSE
p_c | 2025-11-15 | 0.8088 | 1.2622 | FALSE
p_c | 2025-11-16 | 0.0011 | 1.2622 | FALSE
p_c | 2025-11-17 | 0.0041 | 1.2622 | FALSE
p_c | 2025-11-18 | 0.8822 | 1.2622 | FALSE
p_c | 2025-11-19 | 0.7075 | 1.2622 | FALSE
p_c | 2025-11-20 | 1.2203 | 1.2622 | FALSE
p_c | 2025-11-21 | 1.6519 | 1.2622 | TRUE
p_c | 2025-11-22 | 1.5698 | 1.2622 | TRUE
p_c | 2025-11-23 | 1.3163 | 1.2622 | TRUE
p_c | 2025-11-24 | 0.6526 | 1.2622 | FALSE
p_c | 2025-11-25 | 1.0214 | 1.2622 | FALSE
p_c | 2025-11-26 | 1.12 | 1.2622 | FALSE
p_c | 2025-11-27 | 0.9227 | 1.2622 | FALSE
p_c | 2025-11-28 | 0.6344 | 1.2622 | FALSE
p_c | 2025-11-29 | 0.8552 | 1.2622 | FALSE
p_c | 2025-11-30 | 0.0012 | 1.2622 | FALSE
p_c | 2025-12-01 | 0.0017 | 1.2622 | FALSE
p_c | 2025-12-02 | 0.2545 | 1.2622 | FALSE
p_c | 2025-12-03 | 0.004 | 1.2622 | FALSE
p_c | 2025-12-04 | 0.0042 | 1.2622 | FALSE
p_c | 2025-12-05 | 1.1115 | 1.2622 | FALSE
p_c | 2025-12-06 | 0.0015 | 1.2622 | FALSE
p_c | 2025-12-07 | 0.0018 | 1.2622 | FALSE
p_c | 2025-12-08 | 0.6851 | 1.2622 | FALSE
p_c | 2025-12-09 | 0.1958 | 1.2622 | FALSE
p_c | 2025-12-10 | 0.6501 | 1.2622 | FALSE
p_c | 2025-12-11 | 0.8351 | 1.2622 | FALSE
p_c | 2025-12-12 | 0.284 | 1.2622 | FALSE
p_c | 2025-12-13 | 0.0054 | 1.2622 | FALSE
p_c | 2025-12-14 | 0.0048 | 1.2622 | FALSE
p_c | 2025-12-15 | 0.7588 | 1.2622 | FALSE
p_c | 2025-12-16 | 0.8069 | 1.2622 | FALSE
p_c | 2025-12-17 | 0.0012 | 1.2622 | FALSE
p_c | 2025-12-18 | 0.0016 | 1.2622 | FALSE
p_c | 2025-12-19 | 1.0179 | 1.2622 | FALSE
p_c | 2025-12-20 | 0.0013 | 1.2622 | FALSE
p_c | 2025-12-21 | 0.0014 | 1.2622 | FALSE
p_c | 2025-12-22 | 0.9131 | 1.2622 | FALSE
p_c | 2025-12-23 | 0.9169 | 1.2622 | FALSE
p_c | 2025-12-24 | 0.0009 | 1.2622 | FALSE
p_c | 2025-12-25 | 0.0009 | 1.2622 | FALSE
p_c | 2025-12-26 | 0.0009 | 1.2622 | FALSE
p_c | 2025-12-27 | 0.0012 | 1.2622 | FALSE
p_c | 2025-12-28 | 0.0012 | 1.2622 | FALSE
p_c | 2025-12-29 | 0.0009 | 1.2622 | FALSE
p_c | 2025-12-30 | 0.0009 | 1.2622 | FALSE
p_c | 2025-12-31 | 0.0009 | 1.2622 | FALSE
p_e | 2025-10-19 | 0.1536 | 0.6772 | FALSE
p_e | 2025-10-20 | 0.7044 | 0.6772 | TRUE
p_e | 2025-10-21 | 0.4396 | 0.6772 | FALSE
p_e | 2025-10-22 | 0.3665 | 0.6772 | FALSE
p_e | 2025-10-24 | 0.4429 | 0.6772 | FALSE
p_e | 2025-10-25 | 0.3281 | 0.6772 | FALSE
p_e | 2025-10-26 | 0.341 | 0.6772 | FALSE
p_e | 2025-10-27 | 0.3837 | 0.6772 | FALSE
p_e | 2025-10-28 | 0.3175 | 0.6772 | FALSE
p_e | 2025-10-29 | 0.36 | 0.6772 | FALSE
p_e | 2025-10-30 | 0.4333 | 0.6772 | FALSE
p_e | 2025-10-31 | 0.4528 | 0.6772 | FALSE
p_e | 2025-11-01 | 0.5123 | 0.6772 | FALSE
p_e | 2025-11-02 | 0.0001 | 0.6772 | FALSE
p_e | 2025-11-03 | 0.0992 | 0.6772 | FALSE
p_e | 2025-11-04 | 0.3645 | 0.6772 | FALSE
p_e | 2025-11-05 | 0.5376 | 0.6772 | FALSE
p_e | 2025-11-06 | 0.4294 | 0.6772 | FALSE
p_e | 2025-11-07 | 0.3863 | 0.6772 | FALSE
p_e | 2025-11-08 | 0.6305 | 0.6772 | FALSE
p_e | 2025-11-09 | 0.1836 | 0.6772 | FALSE
p_e | 2025-11-10 | 0.4527 | 0.6772 | FALSE
p_e | 2025-11-11 | 0.5268 | 0.6772 | FALSE
p_e | 2025-11-12 | 0.5813 | 0.6772 | FALSE
p_e | 2025-11-13 | 0.3899 | 0.6772 | FALSE
p_e | 2025-11-14 | 0.4485 | 0.6772 | FALSE
p_e | 2025-11-15 | 0.4653 | 0.6772 | FALSE
p_e | 2025-11-16 | 0.3724 | 0.6772 | FALSE
p_e | 2025-11-17 | 0.3751 | 0.6772 | FALSE
p_e | 2025-11-18 | 0.3607 | 0.6772 | FALSE
p_e | 2025-11-19 | 0.409 | 0.6772 | FALSE
p_e | 2025-11-20 | 0.428 | 0.6772 | FALSE
p_e | 2025-11-21 | 0.3448 | 0.6772 | FALSE
p_e | 2025-11-22 | 0.3985 | 0.6772 | FALSE
p_e | 2025-11-23 | 0.3315 | 0.6772 | FALSE
p_e | 2025-11-24 | 0.4318 | 0.6772 | FALSE
p_e | 2025-11-25 | 0.5176 | 0.6772 | FALSE
p_e | 2025-11-26 | 0.6744 | 0.6772 | FALSE
p_e | 2025-11-27 | 0.7087 | 0.6772 | TRUE
p_e | 2025-11-28 | 0.6561 | 0.6772 | FALSE
p_e | 2025-11-29 | 0.3155 | 0.6772 | FALSE
p_e | 2025-11-30 | 0 | 0.6772 | FALSE
p_e | 2025-12-01 | 0.5623 | 0.6772 | FALSE
p_e | 2025-12-02 | 0.3965 | 0.6772 | FALSE
p_e | 2025-12-03 | 0.4065 | 0.6772 | FALSE
p_e | 2025-12-04 | 0.3592 | 0.6772 | FALSE
p_e | 2025-12-05 | 0.4233 | 0.6772 | FALSE
p_e | 2025-12-06 | 0 | 0.6772 | FALSE
p_e | 2025-12-07 | 0.3796 | 0.6772 | FALSE
p_e | 2025-12-08 | 0.3996 | 0.6772 | FALSE
p_e | 2025-12-09 | 0.5103 | 0.6772 | FALSE
p_e | 2025-12-10 | 0.6138 | 0.6772 | FALSE
p_e | 2025-12-11 | 0.4795 | 0.6772 | FALSE
p_e | 2025-12-12 | 0.4899 | 0.6772 | FALSE
p_e | 2025-12-13 | 0.594 | 0.6772 | FALSE
p_e | 2025-12-14 | 0.2232 | 0.6772 | FALSE
p_e | 2025-12-15 | 0.6131 | 0.6772 | FALSE
p_e | 2025-12-16 | 0.4993 | 0.6772 | FALSE
p_e | 2025-12-17 | 0.4368 | 0.6772 | FALSE
p_e | 2025-12-18 | 0.6297 | 0.6772 | FALSE
p_e | 2025-12-19 | 0.3745 | 0.6772 | FALSE
p_e | 2025-12-20 | 0.4517 | 0.6772 | FALSE
p_e | 2025-12-21 | 0.3977 | 0.6772 | FALSE
p_e | 2025-12-22 | 0.3455 | 0.6772 | FALSE
p_e | 2025-12-23 | 0.519 | 0.6772 | FALSE
p_e | 2025-12-24 | 0.0003 | 0.6772 | FALSE
p_e | 2025-12-25 | 0.0003 | 0.6772 | FALSE
p_e | 2025-12-26 | 0.0003 | 0.6772 | FALSE
p_e | 2025-12-27 | 0 | 0.6772 | FALSE
p_e | 2025-12-28 | 0 | 0.6772 | FALSE
p_e | 2025-12-29 | 0.0003 | 0.6772 | FALSE
p_e | 2025-12-30 | 0.0003 | 0.6772 | FALSE
p_e | 2025-12-31 | 0.0003 | 0.6772 | FALSE
p_g | 2025-10-19 | 0.2961 | 0.6925 | FALSE
p_g | 2025-10-20 | 0.4302 | 0.6925 | FALSE
p_g | 2025-10-21 | 0.3612 | 0.6925 | FALSE
p_g | 2025-10-22 | 0.3453 | 0.6925 | FALSE
p_g | 2025-10-24 | 0.3009 | 0.6925 | FALSE
p_g | 2025-10-25 | 0.2847 | 0.6925 | FALSE
p_g | 2025-10-26 | 0.3627 | 0.6925 | FALSE
p_g | 2025-10-27 | 0.3344 | 0.6925 | FALSE
p_g | 2025-10-28 | 0.303 | 0.6925 | FALSE
p_g | 2025-10-29 | 0.1694 | 0.6925 | FALSE
p_g | 2025-10-30 | 0.49 | 0.6925 | FALSE
p_g | 2025-10-31 | 0.5375 | 0.6925 | FALSE
p_g | 2025-11-01 | 0.4602 | 0.6925 | FALSE
p_g | 2025-11-02 | 0.4885 | 0.6925 | FALSE
p_g | 2025-11-03 | 0.3706 | 0.6925 | FALSE
p_g | 2025-11-04 | 0.3249 | 0.6925 | FALSE
p_g | 2025-11-05 | 0.3961 | 0.6925 | FALSE
p_g | 2025-11-06 | 0.3758 | 0.6925 | FALSE
p_g | 2025-11-07 | 0.3282 | 0.6925 | FALSE
p_g | 2025-11-08 | 0.3034 | 0.6925 | FALSE
p_g | 2025-11-09 | 0.4043 | 0.6925 | FALSE
p_g | 2025-11-10 | 0.4982 | 0.6925 | FALSE
p_g | 2025-11-11 | 0.2148 | 0.6925 | FALSE
p_g | 2025-11-12 | 0.3258 | 0.6925 | FALSE
p_g | 2025-11-13 | 0.5612 | 0.6925 | FALSE
p_g | 2025-11-14 | 0.5422 | 0.6925 | FALSE
p_g | 2025-11-15 | 0.5182 | 0.6925 | FALSE
p_g | 2025-11-16 | 0.3525 | 0.6925 | FALSE
p_g | 2025-11-17 | 0.4318 | 0.6925 | FALSE
p_g | 2025-11-18 | 0.5159 | 0.6925 | FALSE
p_g | 2025-11-19 | 0.2849 | 0.6925 | FALSE
p_g | 2025-11-20 | 0.2231 | 0.6925 | FALSE
p_g | 2025-11-21 | 0.1574 | 0.6925 | FALSE
p_g | 2025-11-22 | 0.3542 | 0.6925 | FALSE
p_g | 2025-11-23 | 0.3789 | 0.6925 | FALSE
p_g | 2025-11-24 | 0.5199 | 0.6925 | FALSE
p_g | 2025-11-25 | 0.2152 | 0.6925 | FALSE
p_g | 2025-11-26 | 0.6465 | 0.6925 | FALSE
p_g | 2025-11-27 | 0.2534 | 0.6925 | FALSE
p_g | 2025-11-28 | 0.5258 | 0.6925 | FALSE
p_g | 2025-11-29 | 0.5048 | 0.6925 | FALSE
p_g | 2025-11-30 | 0.3027 | 0.6925 | FALSE
p_g | 2025-12-01 | 0.3155 | 0.6925 | FALSE
p_g | 2025-12-02 | 0.2363 | 0.6925 | FALSE
p_g | 2025-12-03 | 0.2238 | 0.6925 | FALSE
p_g | 2025-12-04 | 0.2813 | 0.6925 | FALSE
p_g | 2025-12-05 | 0.7674 | 0.6925 | TRUE
p_g | 2025-12-06 | 0.4843 | 0.6925 | FALSE
p_g | 2025-12-07 | 0.2712 | 0.6925 | FALSE
p_g | 2025-12-08 | 0.4725 | 0.6925 | FALSE
p_g | 2025-12-09 | 0.399 | 0.6925 | FALSE
p_g | 2025-12-10 | 0.2312 | 0.6925 | FALSE
p_g | 2025-12-11 | 0.6495 | 0.6925 | FALSE
p_g | 2025-12-12 | 0.3343 | 0.6925 | FALSE
p_g | 2025-12-13 | 0.4902 | 0.6925 | FALSE
p_g | 2025-12-14 | 0.497 | 0.6925 | FALSE
p_g | 2025-12-15 | 0.4858 | 0.6925 | FALSE
p_g | 2025-12-16 | 0.2646 | 0.6925 | FALSE
p_g | 2025-12-17 | 0.2582 | 0.6925 | FALSE
p_g | 2025-12-18 | 0.2344 | 0.6925 | FALSE
p_g | 2025-12-19 | 0.2657 | 0.6925 | FALSE
p_g | 2025-12-20 | 0.4463 | 0.6925 | FALSE
p_g | 2025-12-21 | 0.3364 | 0.6925 | FALSE
p_g | 2025-12-22 | 0.3346 | 0.6925 | FALSE
p_g | 2025-12-23 | 0.3379 | 0.6925 | FALSE
p_g | 2025-12-24 | 0.0068 | 0.6925 | FALSE
p_g | 2025-12-25 | 0.0068 | 0.6925 | FALSE
p_g | 2025-12-26 | 0.0068 | 0.6925 | FALSE
p_g | 2025-12-27 | 0.1595 | 0.6925 | FALSE
p_g | 2025-12-28 | 0.1595 | 0.6925 | FALSE
p_g | 2025-12-29 | 0.0068 | 0.6925 | FALSE
p_g | 2025-12-30 | 0.0068 | 0.6925 | FALSE
p_g | 2025-12-31 | 0.0068 | 0.6925 | FALSE
p_k | 2025-10-19 | 0.3512 | 1.0398 | FALSE
p_k | 2025-10-20 | 0.2732 | 1.0398 | FALSE
p_k | 2025-10-21 | 1.0358 | 1.0398 | FALSE
p_k | 2025-10-22 | 0.4583 | 1.0398 | FALSE
p_k | 2025-10-24 | 1.0462 | 1.0398 | TRUE
p_k | 2025-10-25 | 0.5669 | 1.0398 | FALSE
p_k | 2025-10-26 | 0.0032 | 1.0398 | FALSE
p_k | 2025-10-27 | 0.4585 | 1.0398 | FALSE
p_k | 2025-10-28 | 0.4602 | 1.0398 | FALSE
p_k | 2025-10-29 | 0.4598 | 1.0398 | FALSE
p_k | 2025-10-30 | 0.4598 | 1.0398 | FALSE
p_k | 2025-10-31 | 0.6524 | 1.0398 | FALSE
p_k | 2025-11-01 | 1.0646 | 1.0398 | TRUE
p_k | 2025-11-02 | 0.9613 | 1.0398 | FALSE
p_k | 2025-11-03 | 0.7393 | 1.0398 | FALSE
p_k | 2025-11-04 | 0.849 | 1.0398 | FALSE
p_k | 2025-11-05 | 0.4661 | 1.0398 | FALSE
p_k | 2025-11-06 | 0.9062 | 1.0398 | FALSE
p_k | 2025-11-07 | 0.5022 | 1.0398 | FALSE
p_k | 2025-11-08 | 0.4029 | 1.0398 | FALSE
p_k | 2025-11-09 | 0.003 | 1.0398 | FALSE
p_k | 2025-11-10 | 0.4585 | 1.0398 | FALSE
p_k | 2025-11-11 | 0.4717 | 1.0398 | FALSE
p_k | 2025-11-12 | 0.8609 | 1.0398 | FALSE
p_k | 2025-11-13 | 0.6953 | 1.0398 | FALSE
p_k | 2025-11-14 | 0.9137 | 1.0398 | FALSE
p_k | 2025-11-15 | 0.0189 | 1.0398 | FALSE
p_k | 2025-11-16 | 0.0034 | 1.0398 | FALSE
p_k | 2025-11-17 | 0.7669 | 1.0398 | FALSE
p_k | 2025-11-18 | 0.6483 | 1.0398 | FALSE
p_k | 2025-11-19 | 0.4945 | 1.0398 | FALSE
p_k | 2025-11-20 | 0.4569 | 1.0398 | FALSE
p_k | 2025-11-21 | 0.4577 | 1.0398 | FALSE
p_k | 2025-11-22 | 0.0033 | 1.0398 | FALSE
p_k | 2025-11-23 | 0.0033 | 1.0398 | FALSE
p_k | 2025-11-24 | 0.4611 | 1.0398 | FALSE
p_k | 2025-11-25 | 0.682 | 1.0398 | FALSE
p_k | 2025-11-26 | 0.6323 | 1.0398 | FALSE
p_k | 2025-11-27 | 0.9753 | 1.0398 | FALSE
p_k | 2025-11-28 | 0.9363 | 1.0398 | FALSE
p_k | 2025-11-29 | 0.6267 | 1.0398 | FALSE
p_k | 2025-11-30 | 0.6577 | 1.0398 | FALSE
p_k | 2025-12-01 | 0.528 | 1.0398 | FALSE
p_k | 2025-12-02 | 0.2631 | 1.0398 | FALSE
p_k | 2025-12-03 | 0.2265 | 1.0398 | FALSE
p_k | 2025-12-04 | 0.2142 | 1.0398 | FALSE
p_k | 2025-12-05 | 0.9817 | 1.0398 | FALSE
p_k | 2025-12-06 | 0.8333 | 1.0398 | FALSE
p_k | 2025-12-07 | 0.924 | 1.0398 | FALSE
p_k | 2025-12-08 | 0.4862 | 1.0398 | FALSE
p_k | 2025-12-09 | 0.4353 | 1.0398 | FALSE
p_k | 2025-12-10 | 0.2692 | 1.0398 | FALSE
p_k | 2025-12-11 | 0.207 | 1.0398 | FALSE
p_k | 2025-12-12 | 0.2145 | 1.0398 | FALSE
p_k | 2025-12-13 | 0.7114 | 1.0398 | FALSE
p_k | 2025-12-14 | 0.7082 | 1.0398 | FALSE
p_k | 2025-12-15 | 0.6671 | 1.0398 | FALSE
p_k | 2025-12-16 | 0.249 | 1.0398 | FALSE
p_k | 2025-12-17 | 0.4901 | 1.0398 | FALSE
p_k | 2025-12-18 | 0.9717 | 1.0398 | FALSE
p_k | 2025-12-19 | 0.384 | 1.0398 | FALSE
p_k | 2025-12-20 | 0.8117 | 1.0398 | FALSE
p_k | 2025-12-21 | 0.0033 | 1.0398 | FALSE
p_k | 2025-12-22 | 0.6857 | 1.0398 | FALSE
p_k | 2025-12-23 | 0.7114 | 1.0398 | FALSE
p_k | 2025-12-24 | 0.4598 | 1.0398 | FALSE
p_k | 2025-12-25 | 0.4598 | 1.0398 | FALSE
p_k | 2025-12-26 | 0.4598 | 1.0398 | FALSE
p_k | 2025-12-27 | 0.0052 | 1.0398 | FALSE
p_k | 2025-12-28 | 0.0052 | 1.0398 | FALSE
p_k | 2025-12-29 | 0.4598 | 1.0398 | FALSE
p_k | 2025-12-30 | 0.4598 | 1.0398 | FALSE
p_k | 2025-12-31 | 0.4598 | 1.0398 | FALSE
ahu_a | 2025-10-19 | 0.0756 | 0.2843 | FALSE
ahu_a | 2025-10-20 | 0.0654 | 0.2843 | FALSE
ahu_a | 2025-10-21 | 0.0604 | 0.2843 | FALSE
ahu_a | 2025-10-22 | 0.0657 | 0.2843 | FALSE
ahu_a | 2025-10-28 | 0.0623 | 0.2843 | FALSE
ahu_a | 2025-10-29 | 0.0698 | 0.2843 | FALSE
ahu_a | 2025-10-30 | 0.0723 | 0.2843 | FALSE
ahu_a | 2025-10-31 | 0.1011 | 0.2843 | FALSE
ahu_a | 2025-11-01 | 0.0984 | 0.2843 | FALSE
ahu_a | 2025-11-02 | 0.0986 | 0.2843 | FALSE
ahu_a | 2025-11-03 | 0.1149 | 0.2843 | FALSE
ahu_a | 2025-11-04 | 0.1658 | 0.2843 | FALSE
ahu_a | 2025-11-05 | 0.016 | 0.2843 | FALSE
ahu_a | 2025-11-07 | 0.0075 | 0.2843 | FALSE
ahu_a | 2025-11-08 | 0.011 | 0.2843 | FALSE
ahu_a | 2025-11-09 | 0.0081 | 0.2843 | FALSE
ahu_a | 2025-11-10 | 0.0095 | 0.2843 | FALSE
ahu_a | 2025-11-11 | 0.012 | 0.2843 | FALSE
ahu_a | 2025-11-12 | 0.0176 | 0.2843 | FALSE
ahu_a | 2025-11-13 | 0.0124 | 0.2843 | FALSE
ahu_a | 2025-11-14 | 0.0109 | 0.2843 | FALSE
ahu_a | 2025-11-15 | 0.0087 | 0.2843 | FALSE
ahu_a | 2025-11-16 | 0.0118 | 0.2843 | FALSE
ahu_a | 2025-11-17 | 0.0144 | 0.2843 | FALSE
ahu_a | 2025-11-18 | 0.3961 | 0.2843 | TRUE
ahu_a | 2025-11-19 | 0.0011 | 0.2843 | FALSE
ahu_a | 2025-11-20 | 0.3315 | 0.2843 | TRUE
ahu_a | 2025-11-21 | 0.0168 | 0.2843 | FALSE
ahu_a | 2025-11-22 | 0.0093 | 0.2843 | FALSE
ahu_a | 2025-11-23 | 0.0044 | 0.2843 | FALSE
ahu_a | 2025-11-24 | 0.0081 | 0.2843 | FALSE
ahu_a | 2025-11-25 | 0.0102 | 0.2843 | FALSE
ahu_a | 2025-11-26 | 0.0259 | 0.2843 | FALSE
ahu_a | 2025-11-27 | 0.0111 | 0.2843 | FALSE
ahu_a | 2025-11-28 | 0.011 | 0.2843 | FALSE
ahu_a | 2025-11-29 | 0.0108 | 0.2843 | FALSE
ahu_a | 2025-11-30 | 0.0142 | 0.2843 | FALSE
ahu_a | 2025-12-01 | 0.0548 | 0.2843 | FALSE
ahu_a | 2025-12-02 | 0.0285 | 0.2843 | FALSE
ahu_a | 2025-12-03 | 0.0099 | 0.2843 | FALSE
ahu_a | 2025-12-04 | 0.0226 | 0.2843 | FALSE
ahu_a | 2025-12-05 | 0.0072 | 0.2843 | FALSE
ahu_a | 2025-12-06 | 0.0067 | 0.2843 | FALSE
ahu_a | 2025-12-07 | 0.0089 | 0.2843 | FALSE
ahu_a | 2025-12-08 | 0.0073 | 0.2843 | FALSE
ahu_a | 2025-12-09 | 0.0516 | 0.2843 | FALSE
ahu_a | 2025-12-10 | 0.01 | 0.2843 | FALSE
ahu_a | 2025-12-11 | 0.009 | 0.2843 | FALSE
ahu_a | 2025-12-12 | 0.0062 | 0.2843 | FALSE
ahu_a | 2025-12-13 | 0.0079 | 0.2843 | FALSE
ahu_a | 2025-12-14 | 0.0101 | 0.2843 | FALSE
ahu_a | 2025-12-15 | 0.0075 | 0.2843 | FALSE
ahu_a | 2025-12-16 | 0.036 | 0.2843 | FALSE
ahu_a | 2025-12-17 | 0.0109 | 0.2843 | FALSE
ahu_a | 2025-12-18 | 0.0343 | 0.2843 | FALSE
ahu_a | 2025-12-19 | 0.0087 | 0.2843 | FALSE
ahu_a | 2025-12-20 | 0.0107 | 0.2843 | FALSE
ahu_a | 2025-12-21 | 0.012 | 0.2843 | FALSE
ahu_a | 2025-12-22 | 0.0095 | 0.2843 | FALSE
ahu_b | 2025-10-19 | 0.1808 | 1.4063 | FALSE
ahu_b | 2025-10-20 | 0.1505 | 1.4063 | FALSE
ahu_b | 2025-10-21 | 0.0905 | 1.4063 | FALSE
ahu_b | 2025-10-22 | 0.0875 | 1.4063 | FALSE
ahu_b | 2025-10-24 | 0.1579 | 1.4063 | FALSE
ahu_b | 2025-10-25 | 0.3399 | 1.4063 | FALSE
ahu_b | 2025-10-26 | 1.0077 | 1.4063 | FALSE
ahu_b | 2025-10-27 | 1.6484 | 1.4063 | TRUE
ahu_b | 2025-10-28 | 0.64 | 1.4063 | FALSE
ahu_b | 2025-10-29 | 0.109 | 1.4063 | FALSE
ahu_b | 2025-10-30 | 0.1876 | 1.4063 | FALSE
ahu_b | 2025-10-31 | 0.4145 | 1.4063 | FALSE
ahu_b | 2025-11-01 | 0.7307 | 1.4063 | FALSE
ahu_b | 2025-11-02 | 1.7928 | 1.4063 | TRUE
ahu_b | 2025-11-03 | 0.7361 | 1.4063 | FALSE
ahu_b | 2025-11-04 | 0.1134 | 1.4063 | FALSE
ahu_b | 2025-11-05 | 0.1973 | 1.4063 | FALSE
ahu_b | 2025-11-07 | 0.1072 | 1.4063 | FALSE
ahu_b | 2025-11-08 | 1.1016 | 1.4063 | FALSE
ahu_b | 2025-11-09 | 0.9465 | 1.4063 | FALSE
ahu_b | 2025-11-10 | 0.6526 | 1.4063 | FALSE
ahu_b | 2025-11-11 | 1.0069 | 1.4063 | FALSE
ahu_b | 2025-11-12 | 1.6541 | 1.4063 | TRUE
ahu_b | 2025-11-13 | 0.9679 | 1.4063 | FALSE
ahu_b | 2025-11-14 | 0.1114 | 1.4063 | FALSE
ahu_b | 2025-11-15 | 1.1865 | 1.4063 | FALSE
ahu_b | 2025-11-16 | 0.9895 | 1.4063 | FALSE
ahu_b | 2025-11-17 | 1.443 | 1.4063 | TRUE
ahu_b | 2025-11-18 | 1.7779 | 1.4063 | TRUE
ahu_b | 2025-11-19 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-11-20 | 1.3294 | 1.4063 | FALSE
ahu_b | 2025-11-21 | 1.0147 | 1.4063 | FALSE
ahu_b | 2025-11-22 | 0.9557 | 1.4063 | FALSE
ahu_b | 2025-11-23 | 0.9477 | 1.4063 | FALSE
ahu_b | 2025-11-24 | 0.7483 | 1.4063 | FALSE
ahu_b | 2025-11-25 | 0.0811 | 1.4063 | FALSE
ahu_b | 2025-11-26 | 0.1143 | 1.4063 | FALSE
ahu_b | 2025-11-27 | 0.0967 | 1.4063 | FALSE
ahu_b | 2025-11-28 | 0.1501 | 1.4063 | FALSE
ahu_b | 2025-11-29 | 0.9905 | 1.4063 | FALSE
ahu_b | 2025-11-30 | 0.8049 | 1.4063 | FALSE
ahu_b | 2025-12-01 | 1.3003 | 1.4063 | FALSE
ahu_b | 2025-12-02 | 0.2272 | 1.4063 | FALSE
ahu_b | 2025-12-03 | 0.1838 | 1.4063 | FALSE
ahu_b | 2025-12-04 | 0.1869 | 1.4063 | FALSE
ahu_b | 2025-12-05 | 0.2054 | 1.4063 | FALSE
ahu_b | 2025-12-06 | 1.2365 | 1.4063 | FALSE
ahu_b | 2025-12-07 | 1.4872 | 1.4063 | TRUE
ahu_b | 2025-12-08 | 3.2844 | 1.4063 | TRUE
ahu_b | 2025-12-09 | 4.1943 | 1.4063 | TRUE
ahu_b | 2025-12-10 | 4.4504 | 1.4063 | TRUE
ahu_b | 2025-12-11 | 4.4161 | 1.4063 | TRUE
ahu_b | 2025-12-12 | 4.6292 | 1.4063 | TRUE
ahu_b | 2025-12-13 | 4.0807 | 1.4063 | TRUE
ahu_b | 2025-12-14 | 3.2759 | 1.4063 | TRUE
ahu_b | 2025-12-15 | 3.8429 | 1.4063 | TRUE
ahu_b | 2025-12-16 | 4.1 | 1.4063 | TRUE
ahu_b | 2025-12-17 | 4.5321 | 1.4063 | TRUE
ahu_b | 2025-12-18 | 4.543 | 1.4063 | TRUE
ahu_b | 2025-12-19 | 4.6191 | 1.4063 | TRUE
ahu_b | 2025-12-20 | 3.9153 | 1.4063 | TRUE
ahu_b | 2025-12-21 | 3.1982 | 1.4063 | TRUE
ahu_b | 2025-12-22 | 4.0256 | 1.4063 | TRUE
ahu_b | 2025-12-23 | 4.1909 | 1.4063 | TRUE
ahu_b | 2025-12-24 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-12-25 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-12-26 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-12-27 | 0.1419 | 1.4063 | FALSE
ahu_b | 2025-12-28 | 0.1419 | 1.4063 | FALSE
ahu_b | 2025-12-29 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-12-30 | 0.046 | 1.4063 | FALSE
ahu_b | 2025-12-31 | 0.046 | 1.4063 | FALSE
ex_b | 2025-10-19 | 0.1208 | 0.2311 | FALSE
ex_b | 2025-10-20 | 0.0876 | 0.2311 | FALSE
ex_b | 2025-10-21 | 0.0419 | 0.2311 | FALSE
ex_b | 2025-10-22 | 0.0397 | 0.2311 | FALSE
ex_b | 2025-10-24 | 0.0423 | 0.2311 | FALSE
ex_b | 2025-10-25 | 0.1234 | 0.2311 | FALSE
ex_b | 2025-10-26 | 0.9205 | 0.2311 | TRUE
ex_b | 2025-10-27 | 2.1983 | 0.2311 | TRUE
ex_b | 2025-10-28 | 0.5421 | 0.2311 | TRUE
ex_b | 2025-10-29 | 0.048 | 0.2311 | FALSE
ex_b | 2025-10-30 | 0.05 | 0.2311 | FALSE
ex_b | 2025-10-31 | 0.3769 | 0.2311 | TRUE
ex_b | 2025-11-01 | 0.1079 | 0.2311 | FALSE
ex_b | 2025-11-02 | 2.0874 | 0.2311 | TRUE
ex_b | 2025-11-03 | 0.7817 | 0.2311 | TRUE
ex_b | 2025-11-04 | 0.0813 | 0.2311 | FALSE
ex_b | 2025-11-05 | 0.1108 | 0.2311 | FALSE
ex_b | 2025-11-07 | 0.0483 | 0.2311 | FALSE
ex_b | 2025-11-08 | 1.0834 | 0.2311 | TRUE
ex_b | 2025-11-09 | 0.9484 | 0.2311 | TRUE
ex_b | 2025-11-10 | 0.5373 | 0.2311 | TRUE
ex_b | 2025-11-11 | 0.0457 | 0.2311 | FALSE
ex_b | 2025-11-12 | 0.1304 | 0.2311 | FALSE
ex_b | 2025-11-13 | 0.0816 | 0.2311 | FALSE
ex_b | 2025-11-14 | 0.0567 | 0.2311 | FALSE
ex_b | 2025-11-15 | 1.2184 | 0.2311 | TRUE
ex_b | 2025-11-16 | 0.9848 | 0.2311 | TRUE
ex_b | 2025-11-17 | 0.5713 | 0.2311 | TRUE
ex_b | 2025-11-18 | 2.2256 | 0.2311 | TRUE
ex_b | 2025-11-19 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-11-20 | 1.7314 | 0.2311 | TRUE
ex_b | 2025-11-21 | 0.0356 | 0.2311 | FALSE
ex_b | 2025-11-22 | 1.2063 | 0.2311 | TRUE
ex_b | 2025-11-23 | 0.9808 | 0.2311 | TRUE
ex_b | 2025-11-24 | 0.6633 | 0.2311 | TRUE
ex_b | 2025-11-25 | 0.0807 | 0.2311 | FALSE
ex_b | 2025-11-26 | 0.0362 | 0.2311 | FALSE
ex_b | 2025-11-27 | 0.0277 | 0.2311 | FALSE
ex_b | 2025-11-28 | 0.0343 | 0.2311 | FALSE
ex_b | 2025-11-29 | 1.2139 | 0.2311 | TRUE
ex_b | 2025-11-30 | 0.9849 | 0.2311 | TRUE
ex_b | 2025-12-01 | 0.6127 | 0.2311 | TRUE
ex_b | 2025-12-02 | 0.0494 | 0.2311 | FALSE
ex_b | 2025-12-03 | 0.7431 | 0.2311 | TRUE
ex_b | 2025-12-04 | 0.5296 | 0.2311 | TRUE
ex_b | 2025-12-05 | 0.6147 | 0.2311 | TRUE
ex_b | 2025-12-06 | 1.5397 | 0.2311 | TRUE
ex_b | 2025-12-07 | 1.3109 | 0.2311 | TRUE
ex_b | 2025-12-08 | 0.5373 | 0.2311 | TRUE
ex_b | 2025-12-09 | 0.4896 | 0.2311 | TRUE
ex_b | 2025-12-10 | 0.5016 | 0.2311 | TRUE
ex_b | 2025-12-11 | 0.4619 | 0.2311 | TRUE
ex_b | 2025-12-12 | 0.3279 | 0.2311 | TRUE
ex_b | 2025-12-13 | 1.1478 | 0.2311 | TRUE
ex_b | 2025-12-14 | 0.8418 | 0.2311 | TRUE
ex_b | 2025-12-15 | 0.8716 | 0.2311 | TRUE
ex_b | 2025-12-16 | 0.3735 | 0.2311 | TRUE
ex_b | 2025-12-17 | 0.4611 | 0.2311 | TRUE
ex_b | 2025-12-18 | 0.5452 | 0.2311 | TRUE
ex_b | 2025-12-19 | 0.2254 | 0.2311 | FALSE
ex_b | 2025-12-20 | 1.0669 | 0.2311 | TRUE
ex_b | 2025-12-21 | 0.8776 | 0.2311 | TRUE
ex_b | 2025-12-22 | 0.8104 | 0.2311 | TRUE
ex_b | 2025-12-23 | 1.9243 | 0.2311 | TRUE
ex_b | 2025-12-24 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-12-25 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-12-26 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-12-27 | 1.0613 | 0.2311 | TRUE
ex_b | 2025-12-28 | 1.0613 | 0.2311 | TRUE
ex_b | 2025-12-29 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-12-30 | 0.2157 | 0.2311 | FALSE
ex_b | 2025-12-31 | 0.2157 | 0.2311 | FALSE
comp_a | 2025-10-19 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-10-20 | 0.2552 | 0.3494 | FALSE
comp_a | 2025-10-21 | 0.4043 | 0.3494 | TRUE
comp_a | 2025-10-22 | 0.9743 | 0.3494 | TRUE
comp_a | 2025-10-24 | 0.2389 | 0.3494 | FALSE
comp_a | 2025-10-25 | 0.2585 | 0.3494 | FALSE
comp_a | 2025-10-26 | 0.2578 | 0.3494 | FALSE
comp_a | 2025-10-27 | 0.481 | 0.3494 | TRUE
comp_a | 2025-10-28 | 0.3272 | 0.3494 | FALSE
comp_a | 2025-10-29 | 0.2504 | 0.3494 | FALSE
comp_a | 2025-10-30 | 0.469 | 0.3494 | TRUE
comp_a | 2025-10-31 | 0.2796 | 0.3494 | FALSE
comp_a | 2025-11-01 | 0.5776 | 0.3494 | TRUE
comp_a | 2025-11-02 | 0.5531 | 0.3494 | TRUE
comp_a | 2025-11-03 | 0.3349 | 0.3494 | FALSE
comp_a | 2025-11-04 | 0.4499 | 0.3494 | TRUE
comp_a | 2025-11-07 | 0.5158 | 0.3494 | TRUE
comp_a | 2025-11-08 | 0.2697 | 0.3494 | FALSE
comp_a | 2025-11-09 | 0.2408 | 0.3494 | FALSE
comp_a | 2025-11-10 | 1.0441 | 0.3494 | TRUE
comp_a | 2025-11-11 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-11-12 | 1.0218 | 0.3494 | TRUE
comp_a | 2025-11-13 | 0.347 | 0.3494 | FALSE
comp_a | 2025-11-14 | 0.2227 | 0.3494 | FALSE
comp_a | 2025-11-15 | 0.3188 | 0.3494 | FALSE
comp_a | 2025-11-16 | 0.3072 | 0.3494 | FALSE
comp_a | 2025-11-17 | 0.3376 | 0.3494 | FALSE
comp_a | 2025-11-18 | 0.2772 | 0.3494 | FALSE
comp_a | 2025-11-19 | 0.5815 | 0.3494 | TRUE
comp_a | 2025-11-20 | 0.2635 | 0.3494 | FALSE
comp_a | 2025-11-21 | 0.2552 | 0.3494 | FALSE
comp_a | 2025-11-22 | 0.2954 | 0.3494 | FALSE
comp_a | 2025-11-23 | 0.2736 | 0.3494 | FALSE
comp_a | 2025-11-24 | 0.3495 | 0.3494 | TRUE
comp_a | 2025-11-25 | 0.2431 | 0.3494 | FALSE
comp_a | 2025-11-26 | 0.2551 | 0.3494 | FALSE
comp_a | 2025-11-27 | 0.283 | 0.3494 | FALSE
comp_a | 2025-11-28 | 0.3079 | 0.3494 | FALSE
comp_a | 2025-11-29 | 0.3201 | 0.3494 | FALSE
comp_a | 2025-11-30 | 0.2651 | 0.3494 | FALSE
comp_a | 2025-12-01 | 0.4064 | 0.3494 | TRUE
comp_a | 2025-12-02 | 0.3128 | 0.3494 | FALSE
comp_a | 2025-12-03 | 0.4096 | 0.3494 | TRUE
comp_a | 2025-12-04 | 0.3647 | 0.3494 | TRUE
comp_a | 2025-12-05 | 0.2691 | 0.3494 | FALSE
comp_a | 2025-12-06 | 0.2692 | 0.3494 | FALSE
comp_a | 2025-12-07 | 0.4593 | 0.3494 | TRUE
comp_a | 2025-12-08 | 0.2949 | 0.3494 | FALSE
comp_a | 2025-12-09 | 0.5443 | 0.3494 | TRUE
comp_a | 2025-12-10 | 0.3631 | 0.3494 | TRUE
comp_a | 2025-12-11 | 1.0794 | 0.3494 | TRUE
comp_a | 2025-12-12 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-13 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-14 | 0.0001 | 0.3494 | FALSE
comp_a | 2025-12-15 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-16 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-12-17 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-12-18 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-12-19 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-12-20 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-21 | 0.0002 | 0.3494 | FALSE
comp_a | 2025-12-22 | 1.0406 | 0.3494 | TRUE
comp_a | 2025-12-23 | 1.107 | 0.3494 | TRUE
comp_a | 2025-12-24 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-25 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-26 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-27 | 0.0001 | 0.3494 | FALSE
comp_a | 2025-12-28 | 0.0001 | 0.3494 | FALSE
comp_a | 2025-12-29 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-30 | 0.0003 | 0.3494 | FALSE
comp_a | 2025-12-31 | 0.0003 | 0.3494 | FALSE
comp_b | 2025-10-19 | 0.1685 | 0.5401 | FALSE
comp_b | 2025-10-20 | 0.4726 | 0.5401 | FALSE
comp_b | 2025-10-21 | 0.6297 | 0.5401 | TRUE
comp_b | 2025-10-22 | 0.7292 | 0.5401 | TRUE
comp_b | 2025-10-24 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-10-25 | 0.0002 | 0.5401 | FALSE
comp_b | 2025-10-26 | 0.0002 | 0.5401 | FALSE
comp_b | 2025-10-27 | 0.084 | 0.5401 | FALSE
comp_b | 2025-10-28 | 0.3603 | 0.5401 | FALSE
comp_b | 2025-10-29 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-10-30 | 0.1747 | 0.5401 | FALSE
comp_b | 2025-10-31 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-01 | 0.0008 | 0.5401 | FALSE
comp_b | 2025-11-02 | 0.0007 | 0.5401 | FALSE
comp_b | 2025-11-03 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-04 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-05 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-07 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-08 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-11-09 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-10 | 0.8289 | 0.5401 | TRUE
comp_b | 2025-11-11 | 0.2664 | 0.5401 | FALSE
comp_b | 2025-11-12 | 0.9609 | 0.5401 | TRUE
comp_b | 2025-11-13 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-14 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-15 | 0.0006 | 0.5401 | FALSE
comp_b | 2025-11-16 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-17 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-18 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-19 | 0.3995 | 0.5401 | FALSE
comp_b | 2025-11-20 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-21 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-22 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-23 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-11-24 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-25 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-26 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-11-27 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-11-28 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-11-29 | 0.0002 | 0.5401 | FALSE
comp_b | 2025-11-30 | 0.0002 | 0.5401 | FALSE
comp_b | 2025-12-01 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-02 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-03 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-04 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-05 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-06 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-07 | 0.0002 | 0.5401 | FALSE
comp_b | 2025-12-08 | 0.0003 | 0.5401 | FALSE
comp_b | 2025-12-09 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-12-10 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-11 | 0.9216 | 0.5401 | TRUE
comp_b | 2025-12-12 | 0.2512 | 0.5401 | FALSE
comp_b | 2025-12-13 | 0.3211 | 0.5401 | FALSE
comp_b | 2025-12-14 | 0.2131 | 0.5401 | FALSE
comp_b | 2025-12-15 | 0.4881 | 0.5401 | FALSE
comp_b | 2025-12-16 | 0.8826 | 0.5401 | TRUE
comp_b | 2025-12-17 | 0.2597 | 0.5401 | FALSE
comp_b | 2025-12-18 | 0.234 | 0.5401 | FALSE
comp_b | 2025-12-19 | 0.2669 | 0.5401 | FALSE
comp_b | 2025-12-20 | 0.2687 | 0.5401 | FALSE
comp_b | 2025-12-21 | 0.1586 | 0.5401 | FALSE
comp_b | 2025-12-22 | 0.9225 | 0.5401 | TRUE
comp_b | 2025-12-23 | 0.0005 | 0.5401 | FALSE
comp_b | 2025-12-24 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-25 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-26 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-27 | 0.0001 | 0.5401 | FALSE
comp_b | 2025-12-28 | 0.0001 | 0.5401 | FALSE
comp_b | 2025-12-29 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-30 | 0.0004 | 0.5401 | FALSE
comp_b | 2025-12-31 | 0.0004 | 0.5401 | FALSE
mh_a | 2025-10-19 | 0.0056 | 0.3556 | FALSE
mh_a | 2025-10-20 | 0.3431 | 0.3556 | FALSE
mh_a | 2025-10-21 | 0.1611 | 0.3556 | FALSE
mh_a | 2025-10-22 | 0.412 | 0.3556 | TRUE
mh_a | 2025-10-24 | 0.0028 | 0.3556 | FALSE
mh_a | 2025-10-25 | 0.0018 | 0.3556 | FALSE
mh_a | 2025-10-26 | 0.002 | 0.3556 | FALSE
mh_a | 2025-10-27 | 0.271 | 0.3556 | FALSE
mh_a | 2025-10-28 | 0.591 | 0.3556 | TRUE
mh_a | 2025-10-29 | 0.0718 | 0.3556 | FALSE
mh_a | 2025-10-30 | 1.3108 | 0.3556 | TRUE
mh_a | 2025-10-31 | 0.1366 | 0.3556 | FALSE
mh_a | 2025-11-01 | 0.0041 | 0.3556 | FALSE
mh_a | 2025-11-02 | 0.0047 | 0.3556 | FALSE
mh_a | 2025-11-03 | 0.2819 | 0.3556 | FALSE
mh_a | 2025-11-04 | 0.2793 | 0.3556 | FALSE
mh_a | 2025-11-05 | 0.2542 | 0.3556 | FALSE
mh_a | 2025-11-07 | 0.659 | 0.3556 | TRUE
mh_a | 2025-11-08 | 0.0031 | 0.3556 | FALSE
mh_a | 2025-11-09 | 0.0029 | 0.3556 | FALSE
mh_a | 2025-11-10 | 0.4674 | 0.3556 | TRUE
mh_a | 2025-11-11 | 0.0011 | 0.3556 | FALSE
mh_a | 2025-11-12 | 0.2097 | 0.3556 | FALSE
mh_a | 2025-11-13 | 0.3939 | 0.3556 | TRUE
mh_a | 2025-11-14 | 0.0771 | 0.3556 | FALSE
mh_a | 2025-11-15 | 0.0008 | 0.3556 | FALSE
mh_a | 2025-11-16 | 0.0011 | 0.3556 | FALSE
mh_a | 2025-11-17 | 0.0985 | 0.3556 | FALSE
mh_a | 2025-11-18 | 0.304 | 0.3556 | FALSE
mh_a | 2025-11-19 | 0.0311 | 0.3556 | FALSE
mh_a | 2025-11-20 | 0.1048 | 0.3556 | FALSE
mh_a | 2025-11-21 | 0.0665 | 0.3556 | FALSE
mh_a | 2025-11-22 | 0.0011 | 0.3556 | FALSE
mh_a | 2025-11-23 | 0.0012 | 0.3556 | FALSE
mh_a | 2025-11-24 | 0.0312 | 0.3556 | FALSE
mh_a | 2025-11-25 | 0.1034 | 0.3556 | FALSE
mh_a | 2025-11-26 | 0.1845 | 0.3556 | FALSE
mh_a | 2025-11-27 | 0.3961 | 0.3556 | TRUE
mh_a | 2025-11-28 | 0.346 | 0.3556 | FALSE
mh_a | 2025-11-29 | 0.0006 | 0.3556 | FALSE
mh_a | 2025-11-30 | 0.0006 | 0.3556 | FALSE
mh_a | 2025-12-01 | 0.2598 | 0.3556 | FALSE
mh_a | 2025-12-02 | 0.2782 | 0.3556 | FALSE
mh_a | 2025-12-03 | 0.2111 | 0.3556 | FALSE
mh_a | 2025-12-04 | 0.2348 | 0.3556 | FALSE
mh_a | 2025-12-05 | 0.0577 | 0.3556 | FALSE
mh_a | 2025-12-06 | 0.0006 | 0.3556 | FALSE
mh_a | 2025-12-07 | 0.001 | 0.3556 | FALSE
mh_a | 2025-12-08 | 0.2521 | 0.3556 | FALSE
mh_a | 2025-12-09 | 0.4932 | 0.3556 | TRUE
mh_a | 2025-12-10 | 0.7818 | 0.3556 | TRUE
mh_a | 2025-12-11 | 0.3796 | 0.3556 | TRUE
mh_a | 2025-12-12 | 0.001 | 0.3556 | FALSE
mh_a | 2025-12-13 | 0.001 | 0.3556 | FALSE
mh_a | 2025-12-14 | 0.0009 | 0.3556 | FALSE
mh_a | 2025-12-15 | 0.2115 | 0.3556 | FALSE
mh_a | 2025-12-16 | 0.2038 | 0.3556 | FALSE
mh_a | 2025-12-17 | 0.0011 | 0.3556 | FALSE
mh_a | 2025-12-18 | 0.198 | 0.3556 | FALSE
mh_a | 2025-12-19 | 0.0012 | 0.3556 | FALSE
mh_a | 2025-12-20 | 0.0007 | 0.3556 | FALSE
mh_a | 2025-12-21 | 0.0009 | 0.3556 | FALSE
mh_a | 2025-12-22 | 0.0806 | 0.3556 | FALSE
mh_a | 2025-12-23 | 0.0571 | 0.3556 | FALSE
mh_a | 2025-12-24 | 0.0541 | 0.3556 | FALSE
mh_a | 2025-12-25 | 0.0443 | 0.3556 | FALSE
mh_a | 2025-12-26 | 0.0362 | 0.3556 | FALSE
mh_a | 2025-12-27 | 0.0808 | 0.3556 | FALSE
mh_a | 2025-12-28 | 0.0808 | 0.3556 | FALSE
mh_a | 2025-12-29 | 0.0311 | 0.3556 | FALSE
mh_a | 2025-12-30 | 0.0311 | 0.3556 | FALSE
mh_a | 2025-12-31 | 0.0311 | 0.3556 | FALSE
u_e | 2025-10-19 | 0.0483 | 0.8269 | FALSE
u_e | 2025-10-20 | 0.3238 | 0.8269 | FALSE
u_e | 2025-10-21 | 0.157 | 0.8269 | FALSE
u_e | 2025-10-22 | 0.204 | 0.8269 | FALSE
u_e | 2025-10-24 | 0.4036 | 0.8269 | FALSE
u_e | 2025-10-25 | 0.0726 | 0.8269 | FALSE
u_e | 2025-10-26 | 0.0531 | 0.8269 | FALSE
u_e | 2025-10-27 | 0.3899 | 0.8269 | FALSE
u_e | 2025-10-28 | 0.2665 | 0.8269 | FALSE
u_e | 2025-10-29 | 0.7623 | 0.8269 | FALSE
u_e | 2025-10-30 | 0.6282 | 0.8269 | FALSE
u_e | 2025-10-31 | 0.6103 | 0.8269 | FALSE
u_e | 2025-11-01 | 0.0531 | 0.8269 | FALSE
u_e | 2025-11-02 | 0.0538 | 0.8269 | FALSE
u_e | 2025-11-03 | 0.3197 | 0.8269 | FALSE
u_e | 2025-11-04 | 0.2905 | 0.8269 | FALSE
u_e | 2025-11-05 | 0.3268 | 0.8269 | FALSE
u_e | 2025-11-07 | 0.5364 | 0.8269 | FALSE
u_e | 2025-11-08 | 0.3869 | 0.8269 | FALSE
u_e | 2025-11-09 | 0.1444 | 0.8269 | FALSE
u_e | 2025-11-10 | 0.3236 | 0.8269 | FALSE
u_e | 2025-11-11 | 0.786 | 0.8269 | FALSE
u_e | 2025-11-12 | 0.4056 | 0.8269 | FALSE
u_e | 2025-11-13 | 0.7603 | 0.8269 | FALSE
u_e | 2025-11-14 | 0.2967 | 0.8269 | FALSE
u_e | 2025-11-15 | 0.0858 | 0.8269 | FALSE
u_e | 2025-11-16 | 0.0409 | 0.8269 | FALSE
u_e | 2025-11-17 | 0.6636 | 0.8269 | FALSE
u_e | 2025-11-18 | 0.7763 | 0.8269 | FALSE
u_e | 2025-11-19 | 0 | 0.8269 | FALSE
u_e | 2025-11-20 | 1.1163 | 0.8269 | TRUE
u_e | 2025-11-21 | 0.5531 | 0.8269 | FALSE
u_e | 2025-11-22 | 0.0998 | 0.8269 | FALSE
u_e | 2025-11-23 | 0.0416 | 0.8269 | FALSE
u_e | 2025-11-24 | 0.7381 | 0.8269 | FALSE
u_e | 2025-11-25 | 1.1078 | 0.8269 | TRUE
u_e | 2025-11-26 | 0.2263 | 0.8269 | FALSE
u_e | 2025-11-27 | 0.4552 | 0.8269 | FALSE
u_e | 2025-11-28 | 0.8896 | 0.8269 | TRUE
u_e | 2025-11-29 | 0.2126 | 0.8269 | FALSE
u_e | 2025-11-30 | 0.0772 | 0.8269 | FALSE
u_e | 2025-12-01 | 0.5383 | 0.8269 | FALSE
u_e | 2025-12-02 | 1.0207 | 0.8269 | TRUE
u_e | 2025-12-03 | 0.2674 | 0.8269 | FALSE
u_e | 2025-12-04 | 0.3308 | 0.8269 | FALSE
u_e | 2025-12-05 | 0.4928 | 0.8269 | FALSE
u_e | 2025-12-06 | 0.4731 | 0.8269 | FALSE
u_e | 2025-12-07 | 0.0527 | 0.8269 | FALSE
u_e | 2025-12-08 | 0.5754 | 0.8269 | FALSE
u_e | 2025-12-09 | 0.7184 | 0.8269 | FALSE
u_e | 2025-12-10 | 0.9432 | 0.8269 | TRUE
u_e | 2025-12-11 | 0.5222 | 0.8269 | FALSE
u_e | 2025-12-12 | 0.3437 | 0.8269 | FALSE
u_e | 2025-12-13 | 0.0924 | 0.8269 | FALSE
u_e | 2025-12-14 | 0.0529 | 0.8269 | FALSE
u_e | 2025-12-15 | 0.579 | 0.8269 | FALSE
u_e | 2025-12-16 | 0.6097 | 0.8269 | FALSE
u_e | 2025-12-17 | 0.6107 | 0.8269 | FALSE
u_e | 2025-12-18 | 0.4572 | 0.8269 | FALSE
u_e | 2025-12-19 | 0.4072 | 0.8269 | FALSE
u_e | 2025-12-20 | 0.0458 | 0.8269 | FALSE
u_e | 2025-12-21 | 0.0529 | 0.8269 | FALSE
u_e | 2025-12-22 | 0.3985 | 0.8269 | FALSE
u_e | 2025-12-23 | 0.4758 | 0.8269 | FALSE
u_e | 2025-12-24 | 0.0703 | 0.8269 | FALSE
u_e | 2025-12-25 | 0.0683 | 0.8269 | FALSE
u_e | 2025-12-26 | 0.0781 | 0.8269 | FALSE
u_e | 2025-12-27 | 0.0536 | 0.8269 | FALSE
u_e | 2025-12-28 | 0.0545 | 0.8269 | FALSE
u_e | 2025-12-29 | 0.0798 | 0.8269 | FALSE
u_e | 2025-12-30 | 0.0804 | 0.8269 | FALSE
u_e | 2025-12-31 | 0.0698 | 0.8269 | FALSE
mix_a | 2025-10-19 | 0.0019 | 0.5627 | FALSE
mix_a | 2025-10-20 | 0.3065 | 0.5627 | FALSE
mix_a | 2025-10-21 | 0.1931 | 0.5627 | FALSE
mix_a | 2025-10-22 | 0.3687 | 0.5627 | FALSE
mix_a | 2025-10-24 | 0.0056 | 0.5627 | FALSE
mix_a | 2025-10-25 | 0.0015 | 0.5627 | FALSE
mix_a | 2025-10-26 | 0.0015 | 0.5627 | FALSE
mix_a | 2025-10-27 | 0.5317 | 0.5627 | FALSE
mix_a | 2025-10-28 | 0.6931 | 0.5627 | TRUE
mix_a | 2025-10-29 | 0.0023 | 0.5627 | FALSE
mix_a | 2025-10-30 | 0.8628 | 0.5627 | TRUE
mix_a | 2025-10-31 | 0.4299 | 0.5627 | FALSE
mix_a | 2025-11-01 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-11-02 | 0.0016 | 0.5627 | FALSE
mix_a | 2025-11-03 | 0.4241 | 0.5627 | FALSE
mix_a | 2025-11-04 | 0.4744 | 0.5627 | FALSE
mix_a | 2025-11-05 | 0.5067 | 0.5627 | FALSE
mix_a | 2025-11-07 | 0.463 | 0.5627 | FALSE
mix_a | 2025-11-08 | 0.002 | 0.5627 | FALSE
mix_a | 2025-11-09 | 0.0014 | 0.5627 | FALSE
mix_a | 2025-11-10 | 0.6287 | 0.5627 | TRUE
mix_a | 2025-11-11 | 0.0056 | 0.5627 | FALSE
mix_a | 2025-11-12 | 0.3829 | 0.5627 | FALSE
mix_a | 2025-11-13 | 0.6282 | 0.5627 | TRUE
mix_a | 2025-11-14 | 0.0045 | 0.5627 | FALSE
mix_a | 2025-11-15 | 0.0013 | 0.5627 | FALSE
mix_a | 2025-11-16 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-11-17 | 0.4636 | 0.5627 | FALSE
mix_a | 2025-11-18 | 0.4388 | 0.5627 | FALSE
mix_a | 2025-11-19 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-11-20 | 0.5785 | 0.5627 | TRUE
mix_a | 2025-11-21 | 0.2915 | 0.5627 | FALSE
mix_a | 2025-11-22 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-11-23 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-11-24 | 0.0065 | 0.5627 | FALSE
mix_a | 2025-11-25 | 0.4696 | 0.5627 | FALSE
mix_a | 2025-11-26 | 0.4668 | 0.5627 | FALSE
mix_a | 2025-11-27 | 0.2894 | 0.5627 | FALSE
mix_a | 2025-11-28 | 0.4691 | 0.5627 | FALSE
mix_a | 2025-11-29 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-11-30 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-01 | 0.5514 | 0.5627 | FALSE
mix_a | 2025-12-02 | 0.7045 | 0.5627 | TRUE
mix_a | 2025-12-03 | 0.4657 | 0.5627 | FALSE
mix_a | 2025-12-04 | 0.4655 | 0.5627 | FALSE
mix_a | 2025-12-05 | 0.0054 | 0.5627 | FALSE
mix_a | 2025-12-06 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-12-07 | 0.0013 | 0.5627 | FALSE
mix_a | 2025-12-08 | 0.4227 | 0.5627 | FALSE
mix_a | 2025-12-09 | 0.4558 | 0.5627 | FALSE
mix_a | 2025-12-10 | 0.4897 | 0.5627 | FALSE
mix_a | 2025-12-11 | 0.5579 | 0.5627 | FALSE
mix_a | 2025-12-12 | 0.0045 | 0.5627 | FALSE
mix_a | 2025-12-13 | 0.0014 | 0.5627 | FALSE
mix_a | 2025-12-14 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-12-15 | 0.4811 | 0.5627 | FALSE
mix_a | 2025-12-16 | 0.4709 | 0.5627 | FALSE
mix_a | 2025-12-17 | 0.5834 | 0.5627 | TRUE
mix_a | 2025-12-18 | 0.0018 | 0.5627 | FALSE
mix_a | 2025-12-19 | 0.261 | 0.5627 | FALSE
mix_a | 2025-12-20 | 0.0015 | 0.5627 | FALSE
mix_a | 2025-12-21 | 0.0011 | 0.5627 | FALSE
mix_a | 2025-12-22 | 0.0043 | 0.5627 | FALSE
mix_a | 2025-12-23 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-24 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-25 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-26 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-27 | 0.0007 | 0.5627 | FALSE
mix_a | 2025-12-28 | 0.0007 | 0.5627 | FALSE
mix_a | 2025-12-29 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-30 | 0.0012 | 0.5627 | FALSE
mix_a | 2025-12-31 | 0.0012 | 0.5627 | FALSE

## equal_information
H | model | RMSE | SD | DM_min | p_max
1 | XGBoost | 3.1035 | 0.0125 | 9.3737 | 0
1 | XGB+q15 | 2.715 | 0.0049 | 1.98 | 0.0479
1 | Single-stage | 2.7085 | 0.0052 | 1.8359 | 0.0665
1 | LGBM | 2.7042 | 0.0061 | 1.2009 | 0.2299
1 | Mixture_w | 2.6692 | 0.008
1 | Mixture_nw | 2.6634 | 0.0103 | -1.7417 | 0.6732
1 | Mixture_orig | 2.6692 | 0.008
6 | XGBoost | 6.3655 | 0.036 | 3.0355 | 0.0024
6 | XGB+q15 | 6.3286 | 0.0179 | 2.9119 | 0.0036
6 | Single-stage | 6.3042 | 0.0474 | 3.0735 | 0.0021
6 | LGBM | 6.2991 | 0.0847 | 2.4387 | 0.0148
6 | Mixture_w | 6.0836 | 0.0211
6 | Mixture_nw | 6.1048 | 0.0175 | -0.5639 | 0.9878
6 | Mixture_orig | 6.0836 | 0.0211
24 | XGBoost | 8.6815 | 0.0359 | 0.4423 | 0.6584
24 | XGB+q15 | 8.6525 | 0.0307 | 0.3189 | 0.7498
24 | Single-stage | 8.561 | 0.0116 | -0.2417 | 0.9704
24 | LGBM | 8.548 | 0.0389 | -1.0219 | 0.8608
24 | Mixture_w | 8.5566 | 0.0191
24 | Mixture_nw | 8.6281 | 0.0281 | 0.5571 | 0.5775
24 | Mixture_orig | 8.5566 | 0.0191

## classifier_diag
H | seed | brier | brier_clim | brier_state | logloss | ece | neg_share | neg_min_kw
1 | 42 | 0.0273 | 0.2391 | 0.0512 | 0.1009 | 0.0066 | 0.0077 | -0.3746
1 | 7 | 0.0271 | 0.2391 | 0.0512 | 0.1004 | 0.0063 | 0.005 | -0.2214
1 | 123 | 0.0272 | 0.2391 | 0.0512 | 0.1004 | 0.0066 | 0.0108 | -0.2837
1 | 2024 | 0.0271 | 0.2391 | 0.0512 | 0.1002 | 0.0066 | 0.0084 | -0.2935
1 | 31 | 0.0273 | 0.2391 | 0.0512 | 0.1006 | 0.0068 | 0.0033 | -0.226
6 | 42 | 0.0916 | 0.2389 | 0.182 | 0.2993 | 0.0306 | 0.0047 | -0.3996
6 | 7 | 0.0918 | 0.2389 | 0.182 | 0.2999 | 0.0317 | 0.0022 | -0.3124
6 | 123 | 0.0915 | 0.2389 | 0.182 | 0.2989 | 0.0309 | 0.0036 | -0.1824
6 | 2024 | 0.0911 | 0.2389 | 0.182 | 0.2985 | 0.031 | 0.0004 | -0.1272
6 | 31 | 0.0911 | 0.2389 | 0.182 | 0.2972 | 0.0302 | 0.0016 | -0.2176
24 | 42 | 0.1363 | 0.2397 | 0.2218 | 0.4257 | 0.0562 | 0 | 0
24 | 7 | 0.1366 | 0.2397 | 0.2218 | 0.4268 | 0.0563 | 0 | 0
24 | 123 | 0.1361 | 0.2397 | 0.2218 | 0.4257 | 0.0568 | 0 | 0
24 | 2024 | 0.136 | 0.2397 | 0.2218 | 0.4247 | 0.0555 | 0 | 0
24 | 31 | 0.1366 | 0.2397 | 0.2218 | 0.4273 | 0.0564 | 0 | 0

## classifier_reliability
H | bin | n | mean_pi | obs_on
1 | 0.0-0.1 | 12041 | 0.0124 | 0.0095
1 | 0.1-0.2 | 618 | 0.1404 | 0.1003
1 | 0.2-0.3 | 285 | 0.2463 | 0.207
1 | 0.3-0.4 | 181 | 0.3484 | 0.3204
1 | 0.4-0.5 | 185 | 0.4489 | 0.3405
1 | 0.5-0.6 | 166 | 0.5527 | 0.4639
1 | 0.6-0.7 | 185 | 0.652 | 0.5838
1 | 0.7-0.8 | 221 | 0.7512 | 0.7014
1 | 0.8-0.9 | 493 | 0.8587 | 0.8479
1 | 0.9-1.0 | 7754 | 0.9863 | 0.9858
6 | 0.0-0.1 | 8647 | 0.0278 | 0.0223
6 | 0.1-0.2 | 1625 | 0.1439 | 0.112
6 | 0.2-0.3 | 871 | 0.2475 | 0.1883
6 | 0.3-0.4 | 702 | 0.3478 | 0.2749
6 | 0.4-0.5 | 688 | 0.4519 | 0.3939
6 | 0.5-0.6 | 803 | 0.5501 | 0.4956
6 | 0.6-0.7 | 930 | 0.6502 | 0.5505
6 | 0.7-0.8 | 1162 | 0.7531 | 0.6652
6 | 0.8-0.9 | 1538 | 0.8517 | 0.8004
6 | 0.9-1.0 | 5058 | 0.968 | 0.944
24 | 0.0-0.1 | 4988 | 0.0437 | 0.0261
24 | 0.1-0.2 | 2625 | 0.1494 | 0.1067
24 | 0.2-0.3 | 1865 | 0.2459 | 0.1775
24 | 0.3-0.4 | 1283 | 0.3502 | 0.2853
24 | 0.4-0.5 | 1175 | 0.4504 | 0.3591
24 | 0.5-0.6 | 1339 | 0.5497 | 0.4459
24 | 0.6-0.7 | 1517 | 0.6505 | 0.4924
24 | 0.7-0.8 | 1845 | 0.751 | 0.6547
24 | 0.8-0.9 | 2539 | 0.852 | 0.835
24 | 0.9-1.0 | 2824 | 0.9491 | 0.9069

## asset_averaged_errors
H | model | mean_asset_rmse_kw | mean_asset_rmse_z | pooled_rmse_z
1 | Persistence | 2.9764 | 0.0944 | 0.1071
1 | ARIMA | 2.8065 | 0.0873 | 0.0985
1 | VAR | 2.9449 | 0.0896 | 0.1004
1 | Random Forest | 2.5034 | 0.0958 | 0.1395
1 | XGBoost | 2.4598 | 0.0932 | 0.1337
1 | LSTM | 2.7131 | 0.0836 | 0.0935
1 | TCN | 2.575 | 0.0775 | 0.0856
1 | CNN-LSTM | 2.6252 | 0.0802 | 0.0895
1 | Transformer | 2.731 | 0.0948 | 0.1213
1 | DBSCAN + XGBoost | 2.4743 | 0.0933 | 0.1332
1 | Conference feature set | 2.1943 | 0.086 | 0.1276
1 | State-aware single-stage | 2.1675 | 0.0857 | 0.1281
1 | State-aware mixture | 2.1366 | 0.0853 | 0.1295
6 | Persistence | 6.6253 | 0.2197 | 0.2553
6 | ARIMA | 5.7351 | 0.1828 | 0.2111
6 | VAR | 6.4221 | 0.1995 | 0.2293
6 | Random Forest | 4.9994 | 0.1676 | 0.2049
6 | XGBoost | 4.9499 | 0.1625 | 0.1951
6 | LSTM | 5.1495 | 0.1636 | 0.1856
6 | TCN | 5.0128 | 0.1568 | 0.1756
6 | CNN-LSTM | 5.0616 | 0.161 | 0.1832
6 | Transformer | 5.1384 | 0.166 | 0.1922
6 | DBSCAN + XGBoost | 4.9703 | 0.1637 | 0.1968
6 | Conference feature set | 5.0755 | 0.1657 | 0.1996
6 | State-aware single-stage | 4.9051 | 0.1618 | 0.1946
6 | State-aware mixture | 4.7541 | 0.1572 | 0.1895
24 | Persistence | 7.8513 | 0.2452 | 0.2816
24 | ARIMA | 7.1963 | 0.2203 | 0.2538
24 | VAR | 7.8254 | 0.2347 | 0.2694
24 | Random Forest | 7.0251 | 0.2149 | 0.2512
24 | XGBoost | 6.6528 | 0.2039 | 0.2391
24 | LSTM | 6.818 | 0.2048 | 0.2342
24 | TCN | 6.9167 | 0.2086 | 0.2394
24 | CNN-LSTM | 6.9042 | 0.2057 | 0.2345
24 | Transformer | 7.0329 | 0.2124 | 0.2433
24 | DBSCAN + XGBoost | 6.6436 | 0.2053 | 0.2417
24 | Conference feature set | 6.6073 | 0.2026 | 0.2375
24 | State-aware single-stage | 6.5995 | 0.2032 | 0.239
24 | State-aware mixture | 6.5561 | 0.2008 | 0.2366

## robust_25_assets
H | set | xgb | mix | gain | p_max
1 | all | 2.8153 | 2.4396 | 13.3433 | 0
1 | 13 | 3.0936 | 2.6712 | 13.6511
1 | 12 | 2.4707 | 2.1542 | 12.8115 | 0
6 | all | 5.7209 | 5.5709 | 2.6213 | 0.0077
6 | 13 | 6.3152 | 6.1376 | 2.8122
6 | 12 | 4.9787 | 4.8651 | 2.2799 | 0.0259
24 | all | 7.4493 | 7.3521 | 1.3047 | 0.3469
24 | 13 | 8.6293 | 8.5071 | 1.4166
24 | 12 | 5.8581 | 5.7975 | 1.0344 | 0.4627

## robust_25_per_asset
a | 1 | 6 | 24
ahu_a | -3.431 | -8.9981 | -7.0928
ahu_b | 2.0621 | 3.4223 | 4.4967
comp_a | -9.3721 | -3.9349 | -2.1209
comp_b | -8.1895 | -5.2046 | 9.6555
ex_a | -11.043 | -4.6985 | -5.8371
ex_b | -20.3268 | -3.0738 | -8.5799
mh_a | -17.0145 | -6.4256 | -7.4036
mix_a | -0.1292 | -2.1565 | -1.66
mix_b | -8.3579 | -2.8396 | -4.4858
mix_c | -7.6701 | -5.707 | -7.7016
p_a | -11.1589 | -1.4178 | -3.8403
p_b | -14.5333 | -2.6722 | -2.8942
p_c | -15.6499 | -3.1122 | -2.3409
p_d | -16.3368 | -5.723 | -2.9308
p_e | -13.2544 | -1.3387 | -0.131
p_f | -11.2512 | -3.136 | 0.9368
p_g | -2.7081 | -0.4579 | -2.5876
p_h | -12.7754 | -1.6264 | 1.3687
p_i | -12.2229 | 5.9845 | 3.6031
p_k | -16.8986 | -2.4554 | -0.2526
p_l | -18.2339 | 0.2506 | -0.9983
p_m | -14.7478 | -0.039 | -1.2395
u_b | -15.4543 | -4.0938 | -5.1087
u_c | 7.8373 | -15.7193 | -6.7363
u_e | -11.5624 | 0.0859 | -3.2628

## per_asset_change_5seed
Unnamed: 0 | 1 | 6 | 24
p_b | -13.9836 | -1.134 | -1.303
p_c | -14.3467 | -1.9723 | -0.8572
p_e | -12.5149 | -2.0469 | 0.502
p_g | -2.9446 | -1.0425 | -1.9717
p_k | -15.9426 | -8.2331 | -0.9236
ahu_a | -3.2802 | -3.6575 | 3.6077
ahu_b | 0.2661 | -1.8124 | 1.8566
ex_b | -24.6495 | -8.1812 | -9.2742
comp_a | -12.4636 | -3.4386 | -0.5478
comp_b | -12.4802 | -2.9274 | 5.065
mh_a | -17.4747 | -5.9222 | -7.8817
u_e | -13.574 | -0.0662 | -3.1161
mix_a | -2.3946 | -2.1006 | -0.2478